## Slide 1: Preliminary results on SE1 beamline
ATTOlab Users’ meeting
8/11/2017
Christina Alexandridi
LIDyL/ATTO
M. Turconi, L.Barreau, A. Borot , D. Platzer, B. Carré, P. Salières

## Slide 2: RABBIT technique
Characterisation of the ionizing pulse train
21.56
0
E [eV]
H33
H35
Harmonic comb
Delay XUV-IR [fs]
Photon energy [eV]
H37
Coherent XUV+IR photoionization  EWP interferometry
Photoionization dynamics of the target atom
V. Gruson et al., Science(2016)
The ‘perfect’ RABBIT
:High contrast/ well defined 2ω oscillations
temporal +spatial stability

## Slide 3: The set up
Gas cell
BS 90:10
f=2000mm
f=1140mm
f=400mm
Drilled mirror
Toroidal
Silica plate
Grating
MCP
phosphore
MBES
Gas jet
MCP
Phosphore
Attenuator
Delay stage
Al filter
800nm
25fs
~7.5mJ

## Slide 4: Astigmatism
@focus
@before focus
@after focus
x_axis[pixels]
x_axis[pixels]
y_axis[pixels]
y_axis[pixels]

## Slide 5: Detection configuration
Gas cell
BS 90:10
f=2000mm
f=1140mm
f=400mm
Drilled mirror
Toroidal
Silica plate
Grating
MCP
phosphore
MBES
Gas jet
MCP
Phosphore
Attenuator
Delay stage
Al filter
800nm
25fs
~7.5mJ

## Slide 6: Photoelectron detection configuration
Detector: MCP + Phosphor
Detector: MCP + Phosphor
MCP front
MCP back
Phosphor
Reading from the back MCP, connected to the decoupling box
Reading from the Phosphor, connected to the decoupling box and added a bandpass filter to the MCP back

## Slide 7: Spatial Stability
Gas cell
BS 90:10
f=2000mm
f=1140mm
f=400mm
Toroidal
Silica plate
Grating
MCP
phosphore
MBES
Gas jet
MCP
Phosphore
Attenuator
Delay stage
Al filter
800nm
25fs
~7.5mJ
Drilled mirror

## Slide 8: Spatial Stability
Initial dressing arm configuration
f=1140mm
BS 90:10
Attenuator
Delay stage
 Uneven number of reflectrions between the generation and dressing path

## Slide 9: Spatial Stability
BS 90:10
f=400mm
Attenuator
Delay stage
f=1140mm
Final dressing arm configuration

## Slide 10: Position of dressing lens
BS 90:10
f=400mm
Attenuator
Delay stage
f=1140mm
FFT amplitude
ω/ω0
FFT amplitude
ω/ω0
FFT amplitude
ω/ω0
Before
After

## Slide 11: The final RABBIT
ω0
FFT amplitude
Max Contrast = 0.52
Delay [fs]
SB Intensity
Temporal and spatial stability
2ω oscillations
 Delay of a couple of fs over 3 hours
Attochirp=15.6 as
Phase [rad]
SB order
Argon

## Slide 12: Cooper Minimum in Argon
Motivation:
(Schoun et al., PRL,2014)
(Chirla thesis,2014)
 Comparison with HHG spectroscopy
 No need of OPA
What is it?

## Slide 13: Cooper Minimum in Argon
Photoionization process
Otan sugkrineis me schoun tsekare gt stis diaforetika lamda einai kounimeno to deep
Generation Neon
Detection  Argon
photon energy (eV)
group delay (as)
~46.5 eV
CM
CM
(Schoun et al., PRL,2014)
Neon-Neon
Neon-Argon

## Slide 14: Cooper Minimum in Argon
Recombination process
Generation Argon
Detection Neon
CM
CM
(Schoun et al., PRL,2014)
photon energy (eV)
group delay (as)
~49.6 eV
Neon-Neon
Argon-Neon

## Slide 15
Cooper Minimum in Argon
~51.6 eV
~48 eV
(Higuet et al., PRA,2011)
Recombination
Photoionization
photon energy (eV)
group delay (as)
~49.6 eV
~46.5 eV
photoionization
recombination
photon energy (eV)
Energy shift
Less contrasted deep
Recombination
Photoionization
: Incoherent sum of ps +pd
: Coherent sum of ps +pd
1.
2.
Shape of the recolliding EWP

## Slide 16: Conclusions
Astigmatism of the initial beam
Detection configuration
Spatial stability
Position of the dressing beam lens
ω/ω0
Cooper minimum in Argon:
Photoionization
photon energy (eV)
group delay (as)
Recombination
photon energy (eV)
group delay (as)

## Slide 17
Outlook
I. Jordan et al., PRA 95, 013404 (2017)
Spin-Orbit splitting in Xenon ~ 1.3eV
OPA  better sampling
 tunability around the resonances
S. Haessler et al., PRA 80, 011404 (2009)
J. Caillat et al., PRL 106, 093002 (2011)
Scattering phase around Hopfield resonance
In N2
Study of the PI delays in laser-aligned molecules
P. Hockett et al., JPB 49, 095602 (2016)

## Slide 18
Merci pour votre attention !